## Slide 1: Facilities Infrastructure Condition Assessment
PRESENTED to the Board Of Education
December 19, 2018
Presented by:
Marios Demetriou, Assistant Superintendent-Operations
Emile Lauzzana, Executive Director – Physical Properties

## Slide 2: Presentation Overview
K-12 School Infrastructure Quality
  National + State of Michigan
  Ann Arbor Public Schools
Facility Condition Assessment (FCA)
  FCA Overview
  FCA Review of AAPS Properties
  Facility Condition Index (FCI)
  FCA Capital Needs Findings
  Other Capital Needs
  Total Capital Needs vs. Available Funds
Capital Investment Scenarios
Overview of Possibilities

## Slide 3: American Society of Civil Engineers - Infrastructure Report Card

## Slide 4: National K-12 Schools Infrastructure Grade = D+
- American Society of Civil Engineers – 2017 Infrastructure Report
Investment needed to improve and maintain school facilities:
        Annual need: $87 Billion
        Actual annual investment: $49 Billion
        Annual Investment Gap: $38 Billion

## Slide 5: Michigan K-12 Schools Infrastructure Grade = D+
- American Society of Civil Engineers – 2017 Infrastructure Report

## Slide 6: National K-12 Schools Infrastructure Investment of State Governments
- U.S. Green Building Council - State of Our Schools Report 2016
Michigan is one of only 12 states with
no state funding dedicated to school infrastructure

## Slide 7: AAPS Facilities Overview
Number of Principal Buildings | 35
Total Square Footage | 3,476,090
Average Age of Buildings | 63 years
Total Acreage | 762
Number of Students | 18,434
Approximate Number of Staff | 2,400

## Slide 8: Average Age Of Facilities
The Original Build
The Baby Boomers
The Greatest Generation
Generation X

## Slide 9: High Temperatures at Schools

## Slide 10: Facility Condition Assessment (FCA)
AAPS commissioned a Facility Condition Assessment (FCA).
EMG Corporation was awarded a contract to conduct the FCA
FCA is life cycle engineering analysis of the condition of a facility in terms of age, design, construction methods, and materials.
The analysis is done by walk-through inspection and mathematical modeling. It includes calculations of useful life and conditions of building systems and equipment
The FCA identifies needed infrastructure investments and risks associated with continued deferral of maintenance and replacement investments

## Slide 11: Facility Condition Assessment (FCA)
EMG is the largest technical assessment and project management company in the nation with over 700 million square feet of assessments in the last 5 years.
Their team of over 500 professionals offer clients a broad range of services including the life cycle engineering assessments, capital planning, and program and project management.
Clients include public school districts across the country, including: Hartford Public Schools (63 schools), Chicago Public Schools (283 schools), District of Columbia Public Schools (120 schools), and many others.

## Slide 12: Facility Condition Assessment (FCA)
The FCA includes the following components:
Building Structure
  Foundations, Superstructure and Stairwells
Building Envelope
  Walls, Windows, Doors and Roof
Site Improvements
  Parking Lots, Walkways, Signage, Fencing, Athletic Fields, etc.
Building Interiors
  Doors and Finishes (Floors, Paint, Cabinets, Lockers, etc.)
Building MEPF Services (Mechanical, Electrical, Plumbing, and Fire Safety)
  Water Systems, Mechanical Systems, Electrical Systems, Elevators, Fire Safety Systems, Communications Systems, and Security Systems
Equipment and Furnishings
  Kitchen Equipment, Pool Equipment, Scoreboards, Theatre Systems, etc

## Slide 13: Outdated Classrooms

## Slide 14: Outdated Classrooms

## Slide 15: Teacher Lounges

## Slide 16: Theaters/Multi Purpose Rooms

## Slide 17: Kitchens

## Slide 18: Lights and Ceilings

## Slide 19: Interior Doors

## Slide 20: Flooring

## Slide 21: Elevators

## Slide 22: Plumbing Fixtures

## Slide 23: Mechanical Rooms

## Slide 24: Exhaust Fans

## Slide 25: Fire Safety Systems

## Slide 26: Building HVAC Controls

## Slide 27: Electrical Systems

## Slide 28: Boilers

## Slide 29: Heating Distribution Systems

## Slide 30: Exterior Concrete and Stairs

## Slide 31: Exterior Doors and Windows

## Slide 32: Parking Lots and Sidewalks

## Slide 33: Building Facades

## Slide 34: EMG Executive Summary

## Slide 35
Chart: 20-Year FCA Needs by Category
| Electrical | Interiors | HVAC | Exterior | Roofing | Fire Protection | Site | Surfaces | Special Systems | Plumbing | Equipment | Conveying | Foodservice | Life Safety / Environmental
 | 194544934.8715 | 190257448.7945 | 119994130.4254 | 76835038.4334 | 70214399.7601 | 36447207.1914 | 33415941.9652 | 31730221.7255 | 29710029.1271 | 21158147.8907 | 11526241.5278 | 3974197.6511 | 2951215.4812 | 1020806.9052
20-Year FCA Investment Needs
$ 823,779,962

## Slide 36
Chart: Facility Condition Assessment Needs vs. Sinking Fund
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
Sinking Fund | 22266948.9052 | 22890604.5066 | 23462869.6193 | 24049441.3598 | 24650677.3938 | 25266944.3286 | 25898617.9368 | 26546083.3852 | 27209735.4699
FCA Needs | 96942000 | 51620000 | 56959000 | 92317000 | 46540000 | 11887000 | 40522000 | 31966000 | 19000000 | 56521000 | 25554000 | 51682000 | 23716000 | 22129000 | 43598000 | 16677000 | 21800000 | 24040000 | 25272000 | 65038000

## Slide 37
Chart: Facility Condition Assessment (FCA) Needs Gap
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038
FCA Needs Gap | 74675051.0948 | 103404446.5882 | 136900576.969 | 205168135.6092 | 227057458.2154 | 213677513.8869 | 228300895.95 | 233720812.5648 | 225511077.095 | 282032077.095 | 307586077.095 | 359268077.095 | 382984077.095 | 405113077.095 | 448711077.095 | 465388077.095 | 487188077.095 | 511228077.095 | 536500077.095 | 601538077.095
$602M 20-Year FCA Capital Needs Gap
$103M 2-Year FCA Capital Needs Gap
$227M 5-Year FCA Capital Needs Gap
$282M 10-Year FCA Capital Needs Gap

## Slide 38
Chart: 5-Year FCA Needs by Category
| Conveying | Electrical | Engineering | Life Safety/Environmental | Exterior | Exterior Enclosure | Fire Protection | Food Service_Dietary | HVAC | Interiors | Plumbing | Pool Equipment | Roofing | Site | Special Equipment | Special Systems | Surfaces
5 yr totals | 937686.3993 | 97101111.9685 | 104708.1618 | 234604.308 | 16022595.8897 | 333931.1545 | 32113434.659 | 2456998.1032 | 84403242.4941 | 45878082.872 | 7438032.153 | 457685.8312 | 21573997.4835 | 3055050.5676 | 2458816.553 | 14770394.0224 | 15037627.3792
5-Year FCA Investment Needs
$ 344,378,000

## Slide 39: Typical FCA Results Table

## Slide 40: Sample Schools - 5 Year FCA Needs
School | Square Feet | 5-Year FCA Needs | 5-Year FCA Needs / SF
Allen Elementary (1961) | 65,388 | $ 2,054,347 | $31 / SF
Community High School (1922) | 58,200 | $7,906,749 | $135 / SF
Carpenter Elementary (1953) | 52,539 | $11,463,982 | $218 / SF

## Slide 41: Allen Elementary – 5 Year FCA Needs
Major categorical needs identified in the FCA:
$750K - Heating, Ventilation, and Air Conditioning (HVAC)
$460K - Electrical, lighting, branch wiring and equipment
$400K Interior Improvements, walls, windows, doors and finishes
Other needs include:
Sitework – sidewalks and pavement
Resiliency improvements – onsite energy generation and infrastructure
5-Year FCA Investment Needs
$ 2,054,347 ($31/SF)

## Slide 42: Allen Elementary – FCA Needs Report

## Slide 43: Allen Elementary – FCA Needs Report

## Slide 44: Community High – 5 Year FCA Needs
Major categorical needs identified in the FCA:
$2.9M - Heating, Ventilation, and Air Conditioning (HVAC)
$2.2M - Electrical, lighting, branch wiring and equipment
$1.65M – Fire Protection, infrastructure
Other needs include:
Interior improvements – ceilings, walls, floors and finishes
Exterior improvements – masonry updates, windows and doors
5-Year FCA Investment Needs
$7,906,749 ($135/SF)

## Slide 45: Community High – FCA Needs Report

## Slide 46: Community High – FCA Needs Report

## Slide 47: Community High – FCA Needs Report

## Slide 48: Carpenter Elementary – 5 Year FCA Needs
Major categorical needs identified in the FCA:
$2.65M - Heating, Ventilation, and Air Conditioning (HVAC)
$2.25M - Plumbing, distribution and fixtures
$1.8M - Electrical, lighting, branch wiring and equipment
$1.5M Exterior Improvements, walls, windows, doors and finishes
Other needs include:
Roofing – roof system and drainage
Interior improvements – ceilings, walls, floors and finishes
Fire protection – update infrastructure
5-Year FCA Investment Needs
$ 11,463,982 ($218/SF)

## Slide 49: Carpenter Elementary – FCA Needs Report

## Slide 50: Carpenter Elementary – FCA Needs Report

## Slide 51: Facility Condition Index (FCI)
The Facility Condition Index (FCI) is a standard facility management benchmark that is used to objectively assess the current and projected condition of a building asset. FCI is defined as:
the ratio of current year required renewal cost to current building replacement value.
0-5% 6%-10% 11%-30% 31%-50% 51%-100%

## Slide 56: Facility Condition Assessment - Results
2-Year Investment Needs | $ 148,562,000
5-Year Investment Needs | $ 344,378,000
10-Year Investment Needs | $ 504,274,000
20-Year Investment Needs | $ 823,780,000

## Slide 57: What does the FCA Include and Not Include?
Includes | Does Not Include
Existing Infrastructure Renewals and Replacements | New Classroom Additions for Student Growth
Schools Maintained in “Good/Fair” Condition | Schools Maintained in “Good/Exceptional” Condition
Air Conditioning added all schools | Furniture Refresh
Solar Power and Geothermal to reduce Carbon Footprint where feasible | Busing Fleet Refresh
Security Enhancements | Technology Refresh
Standard Classroom Environments (code minimum) | Optimized Healthy Classroom Environments
Union Wages | Constructing New/Replacement Schools

## Slide 58: Cost of Items Not Included in the FCA
Additional Investment Needs (Not in FCA) | Annual Cost
New Schools and Classrooms for Student Population Growth | $ 10M/year
Furniture Refresh | $1M/year
Busing Fleet Refresh | $2M/year
Technology Refresh | $5M/year
Maintaining Schools in “Good/Exceptional” Condition | $5M/year
Annual TOTAL Additional Investment Needs | $23M/year
20-year TOTAL Additional Investment Needs (@3% inflation) | $ 618M

## Slide 59: Total Capital Needs
 | FCA Needs | Other Needs (Not In FCA) | Total Needs
2-Years | $ 148,562,000 | $ 46,690,000 | $ 195,252,000
5-Years | $ 344,378,000 | $ 122,110,124 | $ 466,488,124
10-Years | $ 504,274,000 | $ 263,669,224 | $ 767,943,224
20-Years | $ 823,780,000 | $ 618,018,613 | $ 1,441,798,613

## Slide 60: Capital Needs vs. Available Funds
 | Total Needs | Available Funds | Gap
2-Years | $ 195,252,000 | $ 45,157,553 | $ 150,094,447
5-Years | $ 466,488,124 | $ 117,320,542 | $ 349,167,582
10-Years | $ 767,943,224 | $ 222,241,923 | $ 545,701,301
20-Years | $ 1,441,798,613 | $ 222,241,923 | $ 1,219,556,690

## Slide 61
Chart: Total Capital Needs vs. Available Funds and Funding Gap
| 2-Years | 5-Years | 10-Years | 20-Years
Total Needs | 195252000 | 466488124 | 767943224 | 1441798613
Available Funds | 45157553 | 117320542 | 222241923 | 222241923
Funding Gap | 150094447 | 349167582 | 545701301 | 1219556690

## Slide 62: Voted Bond Issues
Legislative Authority - 1351a of the Revised School Code
Voter Approval Required
Unlimited Tax General Obligations
    Voters authorize school district to issue a specific amount of bonds to pay for improvements identified in ballot proposition
    School district must levy whatever number of mills are necessary on the taxable property within the school district to make principal and interest payments on the bonds
    All of the work must be contracted
    None of the work can be paid to employees of the district

## Slide 63: Capacity To Issue Additional Bonds
Debt Limitation - 15% of the total assessed valuation of the school district
      AAPS Taxable Value = $9.051B
      15% Of AAPS Taxable Value = $1.357B
      AAPS Outstanding Bonds = $0.160B
The additional bonding capacity = $1.197B

## Slide 64: County-Wide Debt Millages
District | Total Debt Mills
Milan | 13.0000
Whitmore Lake | 8.3900
Dexter | 8.5000
Manchester | 8.5000
Saline | 8.0000
Lincoln | 7.3500
Chelsea | 7.0000
Ypsilanti | Two bonds 7.2200 & 13.0000
Ann Arbor | 2.4500

## Slide 65: Voted Bond Issues – cont’d
Permissible Uses of Proceeds
  Constructing new school buildings and additions to existing school buildings
  Remodeling existing school buildings
  Energy conservation improvements
  Asbestos abatement
  Acquiring school buses (2015 Bond)

## Slide 66: Voted Bond Issues – cont’d
Permissible Uses of Proceeds, cont’d
  Purchasing land
  Developing and improving sites, athletic and physical education facilities, and playgrounds (2015 Bond)
  Paying the costs related to the bond issue, such as professional fees, election fees, qualification fees, insurance fees, construction fund audit fees (2012 & 2015 Bonds)
  Purchasing loose furnishings and equipment (2015 Bond)

## Slide 67: Voted Bond Issues – cont’d
Permissible Uses of Proceeds, cont’d
    Purchasing "technology", which is limited to: (2012 Bond)
        Hardware and communication devices that transmit, receive or compute information for pupil instructional purposes
        The initial purchase of operating system software and/or customized application software, accompanying the purchase of such hardware and communication devices
        The cost of the design and installation of the technology items listed above
    Refunding all or part of outstanding bond issues

## Slide 68: Voted Bond Issues – cont’d
Maximum Bond Term – 30 years
    Further limited by the estimated useful life of the improvements
      Examples of estimated useful lives:
        School buses – 6 years
        Loose furnishings and equipment – 10 years
        Technology – 5 years

## Slide 69: Voted Bond Issues – cont’d
Subject to the Construction Fund Audit Requirement
  Bond proceeds may be used only for the projects described in the ballot proposition
  For each series of bonds issued, a school district shall have an independent audit of its bonding activities conducted within 120 days after the date the last certificate of substantial completion is executed for all projects financed by bond proceeds

## Slide 70: Voted Bond Issues – cont’d
Subject to the Construction Fund Audit Requirement, cont’d
  The school district shall submit the report to Treasury:
    Within 150 days after completion of all projects; or
    As part of the school district's annual audit for the next ended fiscal year
      Letter must be sent to Treasury, within 120 days after substantial completion, requesting this alternative
  Alternatively, the school district may engage an auditor to conduct the audit of bonded construction projects on an annual basis

## Slide 71: Current Millage Payment Schedule
Levy Year | Fiscal Year End |  | Projected Tax Base |  | Growth Rate |  | Principal and Interest Payments |  | Mills Needed All Debt
2018 | 2019 |  | $ 9,051,605,246 |  | 5.19% |  | $ 22,176,433 |  | 2.45
2019 | 2020 |  | $ 9,458,927,482 |  | 4.50% |  | $ 22,712,749 |  | 2.40
2020 | 2021 |  | $ 9,695,400,669 |  | 2.50% |  | $ 21,684,280 |  | 2.24
2021 | 2022 |  | $ 9,937,785,686 |  | 2.50% |  | $ 21,660,729 |  | 2.18
2022 | 2023 |  | $ 10,186,230,328 |  | 2.50% |  | $ 20,163,949 |  | 1.98
2023 | 2024 |  | $ 10,440,886,086 |  | 2.50% |  | $ 20,160,672 |  | 1.93
2024 | 2025 |  | $ 10,701,908,238 |  | 2.50% |  | $ 20,085,441 |  | 1.88
2025 | 2026 |  | $ 10,969,455,944 |  | 2.50% |  | $ 14,892,398 |  | 1.36
2026 | 2027 |  | $ 11,243,692,343 |  | 2.50% |  | $ 13,293,228 |  | 1.18
2027 | 2028 |  | $ 11,524,784,651 |  | 2.50% |  | $ 13,194,624 |  | 1.14
2028 | 2029 |  | $ 11,812,904,268 |  | 2.50% |  | $ 13,157,967 |  | 1.11
2029 | 2030 |  | $ 12,108,226,874 |  | 2.50% |  | $ - |  | 0.00
 |  |  |  |  |  |  | $ 203,182,470 |  | 

## Slide 72
Ann Arbor Public Schools All Taxable Values |  |  |  |  |  |  | 
 | Parcels |  | Taxable Value |  | Avg. Taxable Value |  | Per Cent of Tax Base
Ann Arbor City | 35,905 |  | $ 5,790,833,612 |  | $ 161,282 |  | 64.00%
Ann Arbor Township | 2,050 |  | $ 534,327,422 |  | $ 260,648 |  | 5.91%
Lodi Township | 564 |  | $ 88,776,387 |  | $ 157,405 |  | 0.98%
Northfield Township | 142 |  | $ 19,287,034 |  | $ 135,824 |  | 0.21%
Pittsfield Township | 9,291 |  | $ 1,285,006,737 |  | $ 138,307 |  | 14.20%
Salem Township | 111 |  | $ 21,164,145 |  | $ 190,668 |  | 0.23%
Scio Township | 5,596 |  | $ 989,496,461 |  | $ 176,822 |  | 10.94%
Superior Township | 1,453 |  | $ 306,632,773 |  | $ 211,034 |  | 3.39%
Webster Township | 102 |  | $ 13,119,089 |  | $ 128,619 |  | 0.14%
TOTALS | 55,214 |  | $ 9,048,643,660 |  | $ 163,883 |  | 100.00%

## Slide 73
Ann Arbor Public Schools Residential Values 2016-17 |  |  |  |  |  |  | 
 | Parcels |  | Taxable Values |  | Avg. Taxable Value |  | Per Cent of Tax Base
Ann Arbor City | 27,887 |  | $ 3,341,671,323 |  | $ 119,829 |  | 45.14%
Ann Arbor Township | 1,658 |  | $ 313,342,104 |  | $ 188,988 |  | 4.23%
Lodi Township | 2,326 |  | $ 349,439,632 |  | $ 150,232 |  | 4.72%
Northfield Township | 3,974 |  | $ 261,572,654 |  | $ 65,821 |  | 3.53%
Pittsfield Township | 10,328 |  | $ 1,133,828,496 |  | $ 109,782 |  | 15.32%
Salem Township | 2,951 |  | $ 277,810,091 |  | $ 94,141 |  | 3.75%
Scio Township | 5,737 |  | $ 868,931,757 |  | $ 151,461 |  | 11.74%
Superior Township | 5,511 |  | $ 501,798,594 |  | $ 91,054 |  | 6.78%
Webster Township | 2,688 |  | $ 353,869,824 |  | $ 131,648 |  | 4.78%
TOTALS | 63,060 |  | $ 7,402,264,475 |  | $ 117,384 |  | 100.00%

## Slide 74
Additional Cost Of Options from Current Debt Millage Per Year |  |  |  |  |  |  |  |  | 
 |  |  |  |  |  |  | All Properties |  | Residential
 | Taxable Value |  | Taxable Value |  | Taxable Value |  | Taxable Value |  | Taxable Value
 | $ 100,000 |  | $ 150,000 |  | $ 200,000 |  | $ 163,883 |  | $ 117,384
Option 1 $533M | $ - |  | $ - |  | $ - |  | $ - |  | $ -
Option 2 $750M | $ 75 |  | $ 113 |  | $ 150 |  | $ 123 |  | $ 88
Option 3 $1B | $ 170 |  | $ 255 |  | $ 340 |  | $ 279 |  | $ 200

## Slide 75: SUMMARY OF PROPOSED BONDING Option 1 - $533M No Change In Current Millage Rate
Issuance Year Bond Amount Bond Term Estimated Total Interest Cost Estimated Interest Rate
Series 2019 $16,000,000 19.88 yrs. $ 5,570,231 3.50%
Series 2022 $61,500,000 20.00 yrs. $ 28,145,000 4.00%
Series 2025 $140,500,000 20.00 yrs. $ 79,013,025 4.25%
Series 2029 $315,000,000 21.00 yrs. $233,317,800 4.50%
Total $533,000,000 $346,046,056
First Year Millage Average Millage Maximum Total Mills all Debt Increase in Debt Levy
.06 1.88 2.45 0.00
The Pro is that the millage rate remains the same, no increase necessary
The Cons are not enough funds are generated at the beginning in order to build new schools or complete all major renovations. Funds are only sufficient to maintain a Fair FCI learning environment at our schools
Recommend May 2019 Election

## Slide 76: SUMMARY OF PROPOSED BONDING Option 2 - $750M 0.75 Additional Mill To Current Millage
Issuance Year Bond Amount Bond Term Estimated Total Interest Cost Estimated Interest Rate
Series 2019 $50,000,000 19.88 yrs. $ 13,339,686 3.50%
Series 2022 $105,000,000 20.00 yrs. $ 44,470,000 4.00%
Series 2025 $210,500,000 20.00 yrs. $124,670,350 4.25%
Series 2029 $385,000,000 21.00 yrs. $302,167,350 4.50%
Total $750,000,000 $484,656,386
First Year Millage Average Millage Maximum Total Mills all Debt Increase in Debt Levy
.75 2.59 3.20 0.75
The Pros are that enough funds are generated at the beginning to build new schools and to maintain Good FCI learning environment at our schools
The Con is that the millage rate needed is increased by .75 Mills from current millage
Recommend November 2019 Election due to time needed to campaign for an increase

## Slide 77
Issuance Year Bond Amount Bond Term Estimated Total Interest Cost Estimated Interest Rate
Series 2019 $130,000,000 19.88 yrs. $ 40,358,364 3.50%
Series 2022 $145,000,000 20.00 yrs. $ 64,372,800 4.00%
Series 2025 $250,500,000 20.00 yrs. $146,845,150 4.25%
Series 2029 $475,000,000 21.00 yrs. $372,857,625 4.50%
Total $1,000,000,000 $624,433,939
First Year Millage Average Millage Maximum Total Mills all Debt Increase in Debt Levy
1.70 3.47 4.15 1.70
The Pros are that enough funds are generated at the beginning to rapidly renew our schools and to maintain Exceptional FCI learning environment at our schools which will be of the highest quality
The Con is that the millage needed is increased by 1.70 Mills from current millage
Recommend November 2019 Election due to time needed to campaign for an increase
SUMMARY OF PROPOSED BONDING Option 3 - $1B 1.70 Additional Mill To Current Millage

## Slide 78: Proposed Options for Bonding
Prospective Timeline:
    May 2019 election
    First series issued June 2019
Calculation Parameters:
    Taxable Value is expected to grow 4.50% for 2019-20 and 2.50% thereafter

## Slide 79: Timeline for a May 7, 2019 Election
January 30, 2019 – AAPS BOE to Adopt Resolution placing ballot on May 2019 Election
February 12, 2019 by 4:00 PM – AAPS BOE To Certify Text of Ballot Proposal to County Clerk
By April 1, 2019 – Clerk Publishes Notice of Last Day of Registration in Newspaper of General Circulation in School District and at least two Public Places in each Election Precinct in School District
April 8, 2019 – Last Day Clerk receives Registrations
By April 30, 2019 – Clerk must Publish Notice of Election in Newspaper of General Circulation in the School District once and at least two Public Places in each Election Precinct in School District
May 4, 2019 – Last Day for Absentee Voters Application
May 7, 2019 – Conduct Election, Polls open 7:00 AM to 8:00 PM

## Slide 80: Timeline for a May 7, 2019 Election, cont’d
By May 12, 2019 – County Board of Canvassers shall meet to Canvass Election Results
By May 21, 2019 – County Board of Canvassers shall complete its Canvass and Adopt a Resolution Canvassing the Election Results
Immediately after Form is Certified – Certificates of the Determination Results should be Filed to 1) AAPS BOE 2) County Treasurer 3) WISD 4) Counsel

## Slide 81: What could we create?

## Slide 82
Bloomfield Hills High School
Bloomfield Hills, MI – Stantec Architects

## Slide 83
Dexter High School
Dexter, MI – Kingscott Architects

## Slide 84
Discovery Elementary
Arlington, VA – VMDO Architects
*Net-Zero Energy*

## Slide 85
Cherry Crest Elementary
Belleview, WA – NAC Architects
*Nature Focused Design*

## Slide 87: Value of Modernized Schools – Washington DC Study
Perkin Eastman – Investing in Our Future – Washington DC School Modernization Study

## Slide 88: Modernized Washington DC School
Perkin Eastman – Investing in Our Future – Washington DC School Modernization Study

## Slide 89: Modernized Washington DC School
Perkin Eastman – Investing in Our Future – Washington DC School Modernization Study

## Slide 90: Modernized Washington DC Schools
Perkin Eastman – Investing in Our Future – Washington DC School Modernization Study

## Slide 91
Baldwin Elementary and Intermediate School
Manassa, Virginia – Moseley Architects

## Slide 92
Campus International School (K-8)
Cleveland, OH – TDA Architects/Perkins+Will

## Slide 93
The New School
Fayetteville, AK– Hight Jackson Architects

## Slide 94
Edina High School
Edina, MN – Wold Architects and Engineers

## Slide 95
Rio Vista Elementary
Pico Rivera, CA – Joe LoBusso Architects